## Therm 1
Reading t [s] | T_Hg [C] | Hg [K] | T_Hg (fit line) | Diff T_Hg (read-fit) | T_Hg % Error (read vs fit) | T_EtOH [C] | T_LQ [C] | Resistor V | Therm I | Therm V | Therm R | Therm (fit curve) | Diff Therm(read-fit) | Therm % Error (read vs fit) | Note increasing error values
0 | 15 | 288.15 | 14.958 | 0.042 | 0.28079 | 16.1 | 15 | 4.624 | 0.0002125 | 0.376 | 1769.4118 | 1767.2 | 2.2118 | 0.12516
60 | 17 | 290.15 | 16.986 | 0.014 | 0.082421 | 18.2 | 17.4 | 4.653 | 0.00021383 | 0.347 | 1622.7638 | 1664.2863 | -41.5225 | 2.4949
120 | 19 | 292.15 | 19.014 | -0.014 | 0.07363 | 20.1 | 19.3 | 4.678 | 0.00021498 | 0.322 | 1497.8025 | 1567.3658 | -69.5633 | 4.4382
180 | 21 | 294.15 | 21.042 | -0.042 | 0.1996 | 22 | 21.3 | 4.703 | 0.00021613 | 0.297 | 1374.1697 | 1476.0895 | -101.9198 | 6.9047
240 | 23 | 296.15 | 23.07 | -0.07 | 0.30342 | 24.1 | 23.3 | 4.725 | 0.00021714 | 0.275 | 1266.455 | 1390.1288 | -123.6737 | 8.8966
300 | 25.1 | 298.25 | 25.098 | 0.002 | 0.0079688 | 26.2 | 25.4 | 4.746 | 0.00021811 | 0.254 | 1164.5681 | 1309.174 | -144.6059 | 11.0456
360 | 27.2 | 300.35 | 27.126 | 0.074 | 0.2728 | 28.2 | 27.6 | 4.766 | 0.00021903 | 0.234 | 1068.3676 | 1232.9336 | -164.566 | 13.3475
420 | 29.3 | 302.45 | 29.154 | 0.146 | 0.50079 | 30.3 | 29.6 | 4.783 | 0.00021981 | 0.217 | 987.2298 | 1161.1331 | -173.9034 | 14.977
480 | 31.1 | 304.25 | 31.182 | -0.082 | 0.26297 | 32.5 | 31.8 | 4.8 | 0.00022059 | 0.2 | 906.6667 | 1093.514 | -186.8473 | 17.0869
[5 empty] | (best accuracy in blue) | [6 empty] | This shows that MS Excel fit curve is not a good curve for thermistor
Full Equation (Steinhart-Hart): 1/T= A + B*ln(R/Rt) + C*ln(R/Rt)2 + D*ln(R/Rt)3
We will only need to use the B term, obtained from datasheet, or calculated (we will compare the two)
[11 empty] | Datasheet B | 3564 to 3708
Assumption: Since we know that t=120 & t=300 are most accurate T_Hg points, will take corresponding Therm R points as most accurate
[5 empty] | B(T1, T2, R1, R2)=(1/((1/T1)-(1/T2)))*LN(R1/R2) | [5 empty] | Calculated B | 3594.6062 | (within datasheet range)
Where T is in [K], R is in [Ohm]
Now that we have B, we can use most accurate T_Hg point and correlary Therm R point to calculate another T, given a new R value
[5 empty] | T(B, T1, R1, R2)=T1*(B/(B-(T1*LN(R1/R2)))) | [5 empty] | Calculated T (@1164.568057 Ohm) | 298.25 | (gives correct value in [K])
T(R)=292.15*(3594.606185/(3594.606185-(292.15*LN(1497.80248/R))))
Where T is in [K], R is in [Ohm]
Lets compare Therm new fit line based on Steinhart-Hart equation with T_Hg fit line derived from our data
|  |  |  | Reading t [s] | T_Hg [C] | Hg [K] | T_Hg (fit line) | Resistor V | Therm I | Therm V | Therm R | Therm (new fit line) | Diff (T_Hg fit - Therm fit) | % Error (Therm fit vs T_Hg fit)
|  |  |  | 0 | 15 | 288.15 | 288.108 | 4.624 | 0.0002125 | 0.376 | 1769.4118 | 288.2459 | -0.13792 | 0.047873
|  |  |  | 60 | 17 | 290.15 | 290.136 | 4.653 | 0.00021383 | 0.347 | 1622.7638 | 290.2596 | -0.12363 | 0.042613
|  |  |  | 120 | 19 | 292.15 | 292.164 | 4.678 | 0.00021498 | 0.322 | 1497.8025 | 292.15 | 0.014 | 0.0047918
|  |  |  | 180 | 21 | 294.15 | 294.192 | 4.703 | 0.00021613 | 0.297 | 1374.1697 | 294.21 | -0.017984 | 0.0061132
|  |  |  | 240 | 23 | 296.15 | 296.22 | 4.725 | 0.00021714 | 0.275 | 1266.455 | 296.1888 | 0.031161 | 0.010519
|  |  |  | 300 | 25.1 | 298.25 | 298.248 | 4.746 | 0.00021811 | 0.254 | 1164.5681 | 298.25 | -0.002 | 0.00067058
|  |  |  | 360 | 27.2 | 300.35 | 300.276 | 4.766 | 0.00021903 | 0.234 | 1068.3676 | 300.399 | -0.12296 | 0.040947
|  |  |  | 420 | 29.3 | 302.45 | 302.304 | 4.783 | 0.00021981 | 0.217 | 987.2298 | 302.395 | -0.090965 | 0.030091
|  |  |  | 480 | 31.1 | 304.25 | 304.332 | 4.8 | 0.00022059 | 0.2 | 906.6667 | 304.5761 | -0.24414 | 0.080223
Very good error numbers!
Now we are ready to enter data in the Resistor V column (next line below and far left) to get our temp measurements
[8 empty] | Resistor V (overwrite) | Therm I | Therm V | Therm R Value | Our Resulting T [K] | Our Resulting T [C]
[8 empty] | 4.968 | 0.00022831 | 0.032 | 140.161 | 361.812 | 88.662

## Therm2
Reading t [s] | T_Hg [C] | Hg [K] | T_Hg (fit line) | Diff T_Hg (read-fit) | T_Hg % Error (read vs fit) | Resistor V | Therm I | Therm V | Therm R
0 | 30 | 303.15 | 300.37 | 2.78 | 0.92553 | 4.772 | 0.00021887 | 0.228 | 1041.7192
60 | 31 | 304.15 | 302.332 | 1.818 | 0.60133 | 4.779 | 0.00021919 | 0.221 | 1008.2576
120 | 31.4 | 304.55 | 304.294 | 0.256 | 0.084129 | 4.782 | 0.00021933 | 0.218 | 993.9469
180 | 33 | 306.15 | 306.256 | -0.106 | 0.034612 | 4.789 | 0.00021965 | 0.211 | 960.625
240 | 35 | 308.15 | 308.218 | -0.068 | 0.022062 | 4.804 | 0.00022034 | 0.196 | 889.5479
300 | 37 | 310.15 | 310.18 | -0.03 | 0.0096718 | 4.817 | 0.00022093 | 0.183 | 828.3058
360 | 38.8 | 311.95 | 312.142 | -0.192 | 0.06151 | 4.83 | 0.00022153 | 0.17 | 767.3934
420 | 40.5 | 313.65 | 314.104 | -0.454 | 0.14454 | 4.841 | 0.00022203 | 0.159 | 716.1076
480 | 43 | 316.15 | 316.066 | 0.084 | 0.026577 | 4.852 | 0.00022254 | 0.148 | 665.0544
540 | 45 | 318.15 | 318.028 | 0.122 | 0.038361 | 4.861 | 0.00022295 | 0.139 | 623.4555
600 | 47 | 320.15 | 319.99 | 0.16 | 0.050002 | 4.871 | 0.00022341 | 0.129 | 577.4147
660 | 49 | 322.15 | 321.952 | 0.198 | 0.0615 | 4.879 | 0.00022378 | 0.121 | 540.718
720 | 51 | 324.15 | 323.914 | 0.236 | 0.072859 | 4.886 | 0.0002241 | 0.114 | 508.7069
780 | 53 | 326.15 | 325.876 | 0.274 | 0.084081 | 4.892 | 0.00022437 | 0.108 | 481.3418
840 | 55 | 328.15 | 327.838 | 0.312 | 0.095169 | 4.9 | 0.00022474 | 0.1 | 444.9592
900 | 56.8 | 329.95 | 329.8 | 0.15 | 0.045482 | 4.906 | 0.00022501 | 0.094 | 417.7501
960 | 58.4 | 331.55 | 331.762 | -0.212 | 0.063901 | 4.909 | 0.00022515 | 0.091 | 404.1705
1020 | 60.2 | 333.35 | 333.724 | -0.374 | 0.11207 | 4.915 | 0.00022543 | 0.085 | 377.061
(best accuracy in blue)
Full Equation (Steinhart-Hart): 1/T= A + B*ln(R/Rt) + C*ln(R/Rt)2 + D*ln(R/Rt)3
We will only need to use the B term, obtained from datasheet, or calculated (we will compare the two)
[6 empty] | Datasheet B | 3564 to 3708
Assumption: Since we know that t=120 & t=300 are most accurate T_Hg points, will take corresponding Therm R points as most accurate
B(T1, T2, R1, R2)=(1/((1/T1)-(1/T2)))*LN(R1/R2) | [5 empty] | Calculated B | 3537.7533 | Not in data sheet range but seems to work
Where T is in [K], R is in [Ohm]
Now that we have B, we can use most accurate T_Hg point and correlary Therm R point to calculate another T, given a new R value
T(B, T1, R1, R2)=T1*(B/(B-(T1*LN(R1/R2)))) | [5 empty] | Calculated T (@417.750 Ohm) | 329.95 | (gives correct value in [K])
T(R)=292.15*(3594.606185/(3594.606185-(292.15*LN(1497.80248/R))))
Where T is in [K], R is in [Ohm]
Lets compare Therm new fit line based on Steinhart-Hart equation with T_Hg fit line derived from our data
Reading t [s] | T_Hg [C] | Hg [K] | T_Hg (fit line) | Resistor V | Therm I | Therm V | Therm R | Therm (new fit line) | Diff (T_Hg fit - Therm fit) | % Error (Therm fit vs T_Hg fit)
0 | 30 | 303.15 | 300.37 | 4.772 | 0.00021887 | 0.228 | 1041.7192 | 304.0395 | -3.6695 | 1.2217
60 | 31 | 304.15 | 302.332 | 4.779 | 0.00021919 | 0.221 | 1008.2576 | 304.895 | -2.563 | 0.84775
120 | 31.4 | 304.55 | 304.294 | 4.782 | 0.00021933 | 0.218 | 993.9469 | 305.2711 | -0.97712 | 0.32111
180 | 33 | 306.15 | 306.256 | 4.789 | 0.00021965 | 0.211 | 960.625 | 306.172 | 0.083983 | 0.027422
240 | 35 | 308.15 | 308.218 | 4.804 | 0.00022034 | 0.196 | 889.5479 | 308.2225 | -0.0045349 | 0.0014713
300 | 37 | 310.15 | 310.18 | 4.817 | 0.00022093 | 0.183 | 828.3058 | 310.15 | 0.03 | 0.0096718
360 | 38.8 | 311.95 | 312.142 | 4.83 | 0.00022153 | 0.17 | 767.3934 | 312.2409 | -0.098884 | 0.031679
420 | 40.5 | 313.65 | 314.104 | 4.841 | 0.00022203 | 0.159 | 716.1076 | 314.1588 | -0.054773 | 0.017438
480 | 43 | 316.15 | 316.066 | 4.852 | 0.00022254 | 0.148 | 665.0544 | 316.2358 | -0.16978 | 0.053718
540 | 45 | 318.15 | 318.028 | 4.861 | 0.00022295 | 0.139 | 623.4555 | 318.0723 | -0.044259 | 0.013917
600 | 47 | 320.15 | 319.99 | 4.871 | 0.00022341 | 0.129 | 577.4147 | 320.2814 | -0.29138 | 0.091059
660 | 49 | 322.15 | 321.952 | 4.879 | 0.00022378 | 0.121 | 540.718 | 322.1967 | -0.24472 | 0.07601
720 | 51 | 324.15 | 323.914 | 4.886 | 0.0002241 | 0.114 | 508.7069 | 323.9974 | -0.083446 | 0.025762
780 | 53 | 326.15 | 325.876 | 4.892 | 0.00022437 | 0.108 | 481.3418 | 325.6465 | 0.22947 | 0.070417
840 | 55 | 328.15 | 327.838 | 4.9 | 0.00022474 | 0.1 | 444.9592 | 328.0196 | -0.18162 | 0.055398
900 | 56.8 | 329.95 | 329.8 | 4.906 | 0.00022501 | 0.094 | 417.7501 | 329.95 | -0.15 | 0.045482
960 | 58.4 | 331.55 | 331.762 | 4.909 | 0.00022515 | 0.091 | 404.1705 | 330.9701 | 0.79192 | 0.2387
1020 | 60.2 | 333.35 | 333.724 | 4.915 | 0.00022543 | 0.085 | 377.061 | 333.1339 | 0.59007 | 0.17681
Now we are ready to enter data in the Resistor V column (next line below and far left) to get our temp measurements
Resistor V (overwrite) | Therm I | Therm V | Therm R Value | Our Resulting T [K] | Our Resulting T [C]
4.894 | 0.00022446 | 0.106 | 472.235 | 326.2201 | 53.0701
Reading t [s] | T_Hg [C] | Hg [K] | T_Hg (fit line) | Diff T_Hg (read-fit) | T_Hg % Error (read vs fit) | Resistor V | Therm I | Therm V | Therm R
0 | 30 | 303.15 | 300.37 | 2.78 | 0.92553 | 4.782 | 0.00021932 | 0.218 | 993.9925
60 | 31 | 304.15 | 302.332 | 1.818 | 0.60133 | 4.787 | 0.00021955 | 0.213 | 970.1801
120 | 31.4 | 304.55 | 304.294 | 0.256 | 0.084129 | 4.792 | 0.00021978 | 0.208 | 946.4174
180 | 33 | 306.15 | 306.256 | -0.106 | 0.034612 | 4.799 | 0.0002201 | 0.201 | 913.2328
240 | 35 | 308.15 | 308.218 | -0.068 | 0.022062 | 4.813 | 0.00022074 | 0.187 | 847.1531
300 | 37 | 310.15 | 310.18 | -0.03 | 0.0096718 | 4.824 | 0.00022124 | 0.176 | 795.5025
360 | 38.8 | 311.95 | 312.142 | -0.192 | 0.06151 | 4.836 | 0.00022179 | 0.164 | 739.4243
420 | 40.5 | 313.65 | 314.104 | -0.454 | 0.14454 | 4.847 | 0.0002223 | 0.153 | 688.2633
480 | 43 | 316.15 | 316.066 | 0.084 | 0.026577 | 4.856 | 0.00022271 | 0.144 | 646.5766
540 | 45 | 318.15 | 318.028 | 0.122 | 0.038361 | 4.864 | 0.00022308 | 0.136 | 609.6513
600 | 47 | 320.15 | 319.99 | 0.16 | 0.050002 | 4.875 | 0.00022358 | 0.125 | 559.0769
660 | 49 | 322.15 | 321.952 | 0.198 | 0.0615 | 4.884 | 0.000224 | 0.116 | 517.8673
720 | 51 | 324.15 | 323.914 | 0.236 | 0.072859 | 4.889 | 0.00022422 | 0.111 | 495.0387
780 | 53 | 326.15 | 325.876 | 0.274 | 0.084081 | 4.897 | 0.00022459 | 0.103 | 458.6098
840 | 55 | 328.15 | 327.838 | 0.312 | 0.095169 | 4.904 | 0.00022491 | 0.096 | 426.832
900 | 56.8 | 329.95 | 329.8 | 0.15 | 0.045482 | 4.91 | 0.00022519 | 0.09 | 399.666
960 | 58.4 | 331.55 | 331.762 | -0.212 | 0.063901 | 4.914 | 0.00022537 | 0.086 | 381.5922
1020 | 60.2 | 333.35 | 333.724 | -0.374 | 0.11207 | 4.919 | 0.0002256 | 0.081 | 359.0413
(best accuracy in blue)
Full Equation (Steinhart-Hart): 1/T= A + B*ln(R/Rt) + C*ln(R/Rt)2 + D*ln(R/Rt)3
We will only need to use the B term, obtained from datasheet, or calculated (we will compare the two)
[6 empty] | Datasheet B | 3564 to 3708
Assumption: Since we know that t=120 & t=300 are most accurate T_Hg points, will take corresponding Therm R points as most accurate
B(T1, T2, R1, R2)=(1/((1/T1)-(1/T2)))*LN(R1/R2) | [5 empty] | Calculated B | 3557.6299 | (within datasheet range)
Where T is in [K], R is in [Ohm]
Now that we have B, we can use most accurate T_Hg point and correlary Therm R point to calculate another T, given a new R value
T(B, T1, R1, R2)=T1*(B/(B-(T1*LN(R1/R2)))) | [5 empty] | Calculated T (@399.666 Ohm) | 329.95 | (gives correct value in [K])
T(R)=292.15*(3594.606185/(3594.606185-(292.15*LN(1497.80248/R))))
Where T is in [K], R is in [Ohm]
Lets compare Therm new fit line based on Steinhart-Hart equation with T_Hg fit line derived from our data
Reading t [s] | T_Hg [C] | Hg [K] | T_Hg (fit line) | Resistor V | Therm I | Therm V | Therm R | Therm (new fit line) | Diff (T_Hg fit - Therm fit) | % Error (Therm fit vs T_Hg fit)
0 | 30 | 303.15 | 300.37 | 4.782 | 0.00021932 | 0.218 | 993.9925 | 304.2418 | -3.8718 | 1.289
60 | 31 | 304.15 | 302.332 | 4.787 | 0.00021955 | 0.213 | 970.1801 | 304.874 | -2.542 | 0.84078
120 | 31.4 | 304.55 | 304.294 | 4.792 | 0.00021978 | 0.208 | 946.4174 | 305.5232 | -1.2292 | 0.40396
180 | 33 | 306.15 | 306.256 | 4.799 | 0.0002201 | 0.201 | 913.2328 | 306.4626 | -0.2066 | 0.067459
240 | 35 | 308.15 | 308.218 | 4.813 | 0.00022074 | 0.187 | 847.1531 | 308.4584 | -0.24035 | 0.077981
300 | 37 | 310.15 | 310.18 | 4.824 | 0.00022124 | 0.176 | 795.5025 | 310.15 | 0.03 | 0.0096718
360 | 38.8 | 311.95 | 312.142 | 4.836 | 0.00022179 | 0.164 | 739.4243 | 312.1392 | 0.0027522 | 0.0008817
420 | 40.5 | 313.65 | 314.104 | 4.847 | 0.0002223 | 0.153 | 688.2633 | 314.1153 | -0.011303 | 0.0035985
480 | 43 | 316.15 | 316.066 | 4.856 | 0.00022271 | 0.144 | 646.5766 | 315.8577 | 0.20825 | 0.065889
540 | 45 | 318.15 | 318.028 | 4.864 | 0.00022308 | 0.136 | 609.6513 | 317.5154 | 0.51255 | 0.16117
600 | 47 | 320.15 | 319.99 | 4.875 | 0.00022358 | 0.125 | 559.0769 | 319.9886 | 0.0013637 | 0.00042618
660 | 49 | 322.15 | 321.952 | 4.884 | 0.000224 | 0.116 | 517.8673 | 322.2076 | -0.25563 | 0.079401
720 | 51 | 324.15 | 323.914 | 4.889 | 0.00022422 | 0.111 | 495.0387 | 323.5286 | 0.38537 | 0.11897
780 | 53 | 326.15 | 325.876 | 4.897 | 0.00022459 | 0.103 | 458.6098 | 325.7932 | 0.082758 | 0.025395
840 | 55 | 328.15 | 327.838 | 4.904 | 0.00022491 | 0.096 | 426.832 | 327.9498 | -0.11184 | 0.034114
900 | 56.8 | 329.95 | 329.8 | 4.91 | 0.00022519 | 0.09 | 399.666 | 329.95 | -0.15 | 0.045482
960 | 58.4 | 331.55 | 331.762 | 4.914 | 0.00022537 | 0.086 | 381.5922 | 331.3722 | 0.38978 | 0.11749
1020 | 60.2 | 333.35 | 333.724 | 4.919 | 0.0002256 | 0.081 | 359.0413 | 333.2631 | 0.46089 | 0.1381
Now we are ready to enter data in the Resistor V column (next line below and far left) to get our temp measurements
Resistor V (overwrite) | Therm I | Therm V | Therm R Value | Our Resulting T [K] | Our Resulting T [C]
4.751 | 0.0002179 | 0.249 | 1142.7481 | 300.656 | 27.506
HOT Before
CAL Before
CAL After